## summaryO3 18 Jun 16
Averages of total ozone:
With the exisiting Calibration, Lamp tests included
Average is over the complete Mu range
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
278.3557 | 294.6917 | 278.9546 | 265.7651 | 274.9577
3.398 | 19.7341 | 3.9969 | -9.1926
With Langley Plot Calibration
Langley Plot Adjustments and Lamp Test results included
D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD*
276.955 | 279.0801 | 277.1162 | 275.3599 | 276.6012
0.3537 | 2.4789 | 0.51497 | -1.2413

## IdD083
Dobson 083 at IZO 2016.Sep.21 Langley Plot Results
SLC083Na | -0.8 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.7 | [11 empty] | Correction to
D083 LP adj. A:-0.44 C:-0.30 D:-0.85 Nad:0.41 | [12 empty] | MaxMu | 2.5 | MaxMu can be changed | [5 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83 | AD | CD
[20 empty] | With out High mu values | -0.23088 |  | -1.1053 |  | -0.64277 | 0.46254 | 0.87443 | [14 empty] | Limited Mu range
[11 empty] | 46 |  |  |  | 278.3557 | 294.6917 | 278.9546 | 265.7651 | 274.9577 | all Values | -0.30455 |  | -0.84846 |  | -0.4362 | 0.41226 | 0.5439 | [14 empty] | 0.87171 |  | 0.46594
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD | 1/mu.cd | P*CD_83 | 1/mu.ad | P*AD_83
142.1 | 81.9 | 253.8 | 21 | 7 | 56 | 0 | 9 | 16 | C | 83 | IZO | 133.0689 | 78.074 | 241.0259 | 275.6108 | 289.9816 | 277.4756 | 264.7702 | 274.2225 | 0.23644 | 0.22779 | 0.2399 | 0.10457 | 0.24336 | 0.49601 | 2016-09-21 07:56 | 4.2293 | 4.4339 | 2016-09-21 07:57 | 4.1684 | 4.3634 | 2016-09-21 07:58 | 4.1091 | 4.295 | 2016-09-21 07:56 | 4.1987 | 4.3984 | 2016-09-21 07:57 | 4.1386 | 4.3289 | 0.23817 | 0.12322 | 0.24163 | 0.39144
134.7 | 77.1 | 241.4 | 21 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 126.1036 | 73.669 | 228.4255 | 277.4104 | 290.2396 | 278.3064 | 267.7158 | 275.213 | 0.25029 | 0.22928 | 0.25376 | 0.10466 | 0.25723 | 0.49749 | 2016-09-21 08:00 | 3.9954 | 4.1647 | 2016-09-21 08:01 | 3.9408 | 4.1025 | 2016-09-21 08:02 | 3.8876 | 4.0422 | 2016-09-21 08:01 | 3.9679 | 4.1334 | 2016-09-21 08:02 | 3.914 | 4.0722 | 0.25202 | 0.12462 | 0.25549 | 0.39283
127.2 | 72.9 | 230.2 | 21 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 119.0689 | 69.8248 | 216.8816 | 276.6079 | 291.1275 | 278.773 | 265.5675 | 275.5848 | 0.26417 | 0.22862 | 0.26765 | 0.10498 | 0.27112 | 0.49833 | 2016-09-21 08:04 | 3.7854 | 3.9269 | 2016-09-21 08:05 | 3.7363 | 3.8718 | 2016-09-21 08:06 | 3.6884 | 3.8182 | 2016-09-21 08:04 | 3.7607 | 3.8992 | 2016-09-21 08:06 | 3.7122 | 3.8448 | 0.26591 | 0.12363 | 0.26938 | 0.39334
121 | 69 | 220 | 21 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 113.2969 | 66.2666 | 206.5996 | 277.6324 | 291.1444 | 279.4303 | 267.3422 | 276.4134 | 0.27807 | 0.22946 | 0.28155 | 0.10499 | 0.28502 | 0.4995 | 2016-09-21 08:08 | 3.5962 | 3.7156 | 2016-09-21 08:09 | 3.5518 | 3.6663 | 2016-09-21 08:10 | 3.5085 | 3.6184 | 2016-09-21 08:08 | 3.5739 | 3.6908 | 2016-09-21 08:10 | 3.53 | 3.6422 | 0.27981 | 0.12447 | 0.28328 | 0.39451
115.2 | 65.8 | 210.2 | 21 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 107.9143 | 63.347 | 196.8187 | 278.0249 | 293.5078 | 279.288 | 266.1852 | 275.6455 | 0.29197 | 0.22979 | 0.29544 | 0.10584 | 0.29891 | 0.49925 | 2016-09-21 08:12 | 3.425 | 3.5265 | 2016-09-21 08:13 | 3.3848 | 3.4823 | 2016-09-21 08:14 | 3.3455 | 3.4393 | 2016-09-21 08:12 | 3.4048 | 3.5042 | 2016-09-21 08:13 | 3.365 | 3.4606 | 0.2937 | 0.12395 | 0.29717 | 0.39341
109.8 | 62.1 | 201 | 21 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 102.914 | 59.9515 | 187.7467 | 277.9494 | 289.3976 | 278.8183 | 269.213 | 276.102 | 0.30585 | 0.22973 | 0.30931 | 0.10436 | 0.31277 | 0.49841 | 2016-09-21 08:16 | 3.2696 | 3.3565 | 2016-09-21 08:17 | 3.233 | 3.3166 | 2016-09-21 08:18 | 3.1972 | 3.2777 | 2016-09-21 08:17 | 3.2512 | 3.3364 | 2016-09-21 08:18 | 3.215 | 3.297 | 0.30758 | 0.12537 | 0.31104 | 0.39405
104.8 | 59.6 | 193.2 | 21 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 98.2785 | 57.6463 | 180.0645 | 277.527 | 292.3049 | 279.4251 | 266.1971 | 276.1325 | 0.31969 | 0.22938 | 0.32315 | 0.10541 | 0.3266 | 0.49949 | 2016-09-21 08:20 | 3.128 | 3.2028 | 2016-09-21 08:21 | 3.0945 | 3.1667 | 2016-09-21 08:22 | 3.0618 | 3.1314 | 2016-09-21 08:20 | 3.1112 | 3.1846 | 2016-09-21 08:22 | 3.0781 | 3.149 | 0.32142 | 0.12397 | 0.32488 | 0.39409
100.6 | 57.1 | 185.4 | 21 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 94.3739 | 55.3298 | 172.3811 | 278.4174 | 293.1949 | 278.7796 | 267.0744 | 275.1034 | 0.3335 | 0.23011 | 0.33694 | 0.10573 | 0.34038 | 0.49834 | 2016-09-21 08:24 | 2.9985 | 3.0634 | 2016-09-21 08:25 | 2.9679 | 3.0305 | 2016-09-21 08:26 | 2.9379 | 2.9984 | 2016-09-21 08:24 | 2.9831 | 3.0468 | 2016-09-21 08:26 | 2.9528 | 3.0143 | 0.33522 | 0.12438 | 0.33866 | 0.39261
96.2 | 54.6 | 178.5 | 21 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 90.2874 | 53.0026 | 165.5791 | 277.1522 | 292.0665 | 278.6289 | 265.6921 | 275.2033 | 0.34725 | 0.22907 | 0.35068 | 0.10532 | 0.35411 | 0.49807 | 2016-09-21 08:28 | 2.8797 | 2.9363 | 2016-09-21 08:29 | 2.8516 | 2.9063 | 2016-09-21 08:30 | 2.824 | 2.8769 | 2016-09-21 08:28 | 2.8656 | 2.9212 | 2016-09-21 08:29 | 2.8377 | 2.8915 | 0.34897 | 0.12374 | 0.35239 | 0.39275
92.7 | 52.6 | 172.2 | 21 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 87.0448 | 51.1277 | 159.4257 | 278.1222 | 293.5922 | 278.6978 | 266.2226 | 274.9071 | 0.36094 | 0.22987 | 0.36435 | 0.10587 | 0.36776 | 0.49819 | 2016-09-21 08:32 | 2.7705 | 2.82 | 2016-09-21 08:33 | 2.7446 | 2.7925 | 2016-09-21 08:34 | 2.7192 | 2.7656 | 2016-09-21 08:33 | 2.7575 | 2.8062 | 2016-09-21 08:34 | 2.7318 | 2.779 | 0.36265 | 0.124 | 0.36606 | 0.39232
89.3 | 50.3 | 166.3 | 21 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 83.8924 | 48.9553 | 153.6567 | 278.334 | 290.4349 | 278.5727 | 269.0342 | 275.5508 | 0.37456 | 0.23004 | 0.37795 | 0.10473 | 0.38134 | 0.49797 | 2016-09-21 08:36 | 2.6698 | 2.7134 | 2016-09-21 08:37 | 2.6458 | 2.6881 | 2016-09-21 08:38 | 2.6223 | 2.6633 | 2016-09-21 08:36 | 2.6578 | 2.7006 | 2016-09-21 08:38 | 2.634 | 2.6756 | 0.37626 | 0.12531 | 0.37965 | 0.39324
85.9 | 48.5 | 160.8 | 21 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 80.741 | 47.2441 | 148.2779 | 277.4165 | 290.5037 | 278.3561 | 267.3464 | 275.2643 | 0.3881 | 0.22929 | 0.39147 | 0.10476 | 0.39484 | 0.49758 | 2016-09-21 08:40 | 2.5767 | 2.6151 | 2016-09-21 08:41 | 2.5545 | 2.5918 | 2016-09-21 08:42 | 2.5327 | 2.5689 | 2016-09-21 08:40 | 2.5655 | 2.6034 | 2016-09-21 08:42 | 2.5435 | 2.5803 | 0.38979 | 0.12453 | 0.39315 | 0.39282
83.1 | 47 | 155.9 | 21 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 78.1577 | 45.8102 | 143.5311 | 278.1299 | 292.2586 | 278.6915 | 267.2477 | 275.2429 | 0.40155 | 0.22988 | 0.4049 | 0.10539 | 0.40824 | 0.49818 | 2016-09-21 08:44 | 2.4903 | 2.5245 | 2016-09-21 08:45 | 2.4698 | 2.5029 | 2016-09-21 08:46 | 2.4495 | 2.4817 | 2016-09-21 08:44 | 2.48 | 2.5136 | 2016-09-21 08:46 | 2.4596 | 2.4923 | 0.40323 | 0.12448 | 0.40657 | 0.39279
80.2 | 45.5 | 151.2 | 21 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 75.4907 | 44.3688 | 138.9736 | 277.4826 | 292.7129 | 278.6799 | 265.7426 | 275.1152 | 0.41491 | 0.22934 | 0.41823 | 0.10556 | 0.42155 | 0.49816 | 2016-09-21 08:48 | 2.4102 | 2.4406 | 2016-09-21 08:49 | 2.391 | 2.4205 | 2016-09-21 08:50 | 2.3722 | 2.4009 | 2016-09-21 08:49 | 2.4006 | 2.4305 | 2016-09-21 08:50 | 2.3816 | 2.4107 | 0.41657 | 0.12378 | 0.41989 | 0.39261
77.7 | 44 | 146.8 | 21 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 73.1894 | 42.9203 | 134.7305 | 277.7688 | 291.8718 | 278.671 | 266.8968 | 275.3181 | 0.42816 | 0.22958 | 0.43146 | 0.10525 | 0.43475 | 0.49815 | 2016-09-21 08:52 | 2.3355 | 2.3627 | 2016-09-21 08:53 | 2.3177 | 2.3441 | 2016-09-21 08:54 | 2.3002 | 2.3258 | 2016-09-21 08:52 | 2.3266 | 2.3533 | 2016-09-21 08:54 | 2.3089 | 2.3349 | 0.42981 | 0.12432 | 0.43311 | 0.39289
75.3 | 42.8 | 142.7 | 21 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 70.978 | 41.7562 | 130.8125 | 277.6946 | 293.3288 | 278.7652 | 265.6337 | 275.0691 | 0.44131 | 0.22952 | 0.44458 | 0.10578 | 0.44785 | 0.49831 | 2016-09-21 08:56 | 2.266 | 2.2903 | 2016-09-21 08:57 | 2.2493 | 2.2729 | 2016-09-21 08:58 | 2.2329 | 2.2559 | 2016-09-21 08:56 | 2.2576 | 2.2816 | 2016-09-21 08:58 | 2.2411 | 2.2644 | 0.44295 | 0.12374 | 0.44622 | 0.39254
73.2 | 41.7 | 139.1 | 21 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 69.0427 | 40.6847 | 127.3791 | 278.3321 | 294.9675 | 279.4488 | 265.4928 | 275.5124 | 0.45435 | 0.23004 | 0.45759 | 0.10637 | 0.46083 | 0.49954 | 2016-09-21 09:00 | 2.2009 | 2.2228 | 2016-09-21 09:01 | 2.1854 | 2.2066 | 2016-09-21 09:02 | 2.17 | 2.1907 | 2016-09-21 09:00 | 2.1931 | 2.2147 | 2016-09-21 09:02 | 2.1777 | 2.1986 | 0.45597 | 0.12367 | 0.45921 | 0.39317
71.1 | 40.4 | 135.2 | 21 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 67.1079 | 39.4128 | 123.6608 | 278.2585 | 293.0701 | 278.7911 | 266.8278 | 275.169 | 0.46727 | 0.22998 | 0.47048 | 0.10568 | 0.47368 | 0.49836 | 2016-09-21 09:04 | 2.1401 | 2.1598 | 2016-09-21 09:05 | 2.1255 | 2.1446 | 2016-09-21 09:06 | 2.1111 | 2.1298 | 2016-09-21 09:05 | 2.1328 | 2.1522 | 2016-09-21 09:06 | 2.1183 | 2.1372 | 0.46888 | 0.1243 | 0.47208 | 0.39268
69.1 | 39.3 | 131.9 | 21 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 65.2668 | 38.3315 | 120.5062 | 278.0202 | 292.6706 | 279.0445 | 266.7117 | 275.5883 | 0.48006 | 0.22978 | 0.48324 | 0.10554 | 0.48641 | 0.49881 | 2016-09-21 09:08 | 2.0831 | 2.1008 | 2016-09-21 09:09 | 2.0694 | 2.0867 | 2016-09-21 09:10 | 2.0559 | 2.0727 | 2016-09-21 09:08 | 2.0762 | 2.0937 | 2016-09-21 09:10 | 2.0626 | 2.0797 | 0.48165 | 0.12424 | 0.48483 | 0.39327
67.5 | 38.3 | 128.7 | 21 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 63.7935 | 37.3441 | 117.4517 | 279.2989 | 292.6513 | 279.039 | 268.9928 | 275.587 | 0.49273 | 0.23084 | 0.49587 | 0.10553 | 0.49901 | 0.4988 | 2016-09-21 09:12 | 2.0295 | 2.0456 | 2016-09-21 09:13 | 2.0166 | 2.0323 | 2016-09-21 09:14 | 2.004 | 2.0192 | 2016-09-21 09:12 | 2.0231 | 2.0389 | 2016-09-21 09:14 | 2.0103 | 2.0257 | 0.4943 | 0.12531 | 0.49744 | 0.39327
65.8 | 37.5 | 125.7 | 21 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 62.2258 | 36.5516 | 114.5932 | 279.4424 | 294.5385 | 279.0738 | 267.7846 | 275.1543 | 0.50526 | 0.23096 | 0.50837 | 0.10621 | 0.51147 | 0.49887 | 2016-09-21 09:16 | 1.9792 | 1.9937 | 2016-09-21 09:17 | 1.9671 | 1.9813 | 2016-09-21 09:18 | 1.9551 | 1.969 | 2016-09-21 09:16 | 1.9731 | 1.9875 | 2016-09-21 09:18 | 1.9611 | 1.9751 | 0.50682 | 0.12475 | 0.50992 | 0.39265
64.2 | 36.6 | 122.9 | 21 | 9 | 20 | 0 | 9 | 16 | C | 83 | IZO | 60.7471 | 35.6573 | 111.9382 | 279.5617 | 294.2589 | 279.2156 | 268.2106 | 275.4033 | 0.51765 | 0.23106 | 0.52073 | 0.10611 | 0.52379 | 0.49912 | 2016-09-21 09:20 | 1.9318 | 1.945 | 2016-09-21 09:21 | 1.9204 | 1.9333 | 2016-09-21 09:22 | 1.9092 | 1.9218 | 2016-09-21 09:20 | 1.9261 | 1.9391 | 2016-09-21 09:22 | 1.9148 | 1.9275 | 0.51919 | 0.12495 | 0.52226 | 0.39301
62.6 | 35.6 | 120 | 21 | 9 | 24 | 0 | 9 | 16 | C | 83 | IZO | 59.2667 | 34.6608 | 109.2104 | 279.1191 | 291.7064 | 278.682 | 269.3995 | 275.3804 | 0.5299 | 0.23069 | 0.53294 | 0.10519 | 0.53597 | 0.49817 | 2016-09-21 09:24 | 1.8872 | 1.8992 | 2016-09-21 09:25 | 1.8764 | 1.8881 | 2016-09-21 09:26 | 1.8658 | 1.8773 | 2016-09-21 09:24 | 1.8818 | 1.8936 | 2016-09-21 09:26 | 1.8711 | 1.8827 | 0.53142 | 0.1255 | 0.53445 | 0.39297
61.1 | 35.2 | 117.4 | 21 | 9 | 28 | 0 | 9 | 16 | C | 83 | IZO | 57.8766 | 34.2614 | 106.7719 | 278.7224 | 297.3559 | 278.5721 | 264.3213 | 273.8155 | 0.542 | 0.23036 | 0.545 | 0.10723 | 0.54799 | 0.49797 | 2016-09-21 09:28 | 1.845 | 1.856 | 2016-09-21 09:29 | 1.8349 | 1.8456 | 2016-09-21 09:30 | 1.8249 | 1.8353 | 2016-09-21 09:28 | 1.8399 | 1.8508 | 2016-09-21 09:30 | 1.8298 | 1.8404 | 0.5435 | 0.12314 | 0.54649 | 0.39074
59.8 | 34.4 | 115.1 | 21 | 9 | 32 | 0 | 9 | 16 | C | 83 | IZO | 56.6694 | 33.4614 | 104.6105 | 279.0368 | 296.4 | 278.9098 | 265.6177 | 274.4806 | 0.55394 | 0.23062 | 0.5569 | 0.10689 | 0.55986 | 0.49857 | 2016-09-21 09:32 | 1.8052 | 1.8152 | 2016-09-21 09:33 | 1.7956 | 1.8054 | 2016-09-21 09:34 | 1.7862 | 1.7957 | 2016-09-21 09:32 | 1.8004 | 1.8103 | 2016-09-21 09:34 | 1.7909 | 1.8006 | 0.55543 | 0.12374 | 0.55838 | 0.39169
58.4 | 33.7 | 112.8 | 21 | 9 | 36 | 0 | 9 | 16 | C | 83 | IZO | 55.3665 | 32.7603 | 102.4486 | 278.2381 | 296.324 | 278.8664 | 264.2583 | 274.4458 | 0.56573 | 0.22996 | 0.56865 | 0.10686 | 0.57157 | 0.4985 | 2016-09-21 09:36 | 1.7676 | 1.7768 | 2016-09-21 09:37 | 1.7585 | 1.7675 | 2016-09-21 09:38 | 1.7496 | 1.7583 | 2016-09-21 09:36 | 1.7631 | 1.7721 | 2016-09-21 09:38 | 1.754 | 1.7629 | 0.56719 | 0.12311 | 0.57011 | 0.39164
57.3 | 32.8 | 110.5 | 21 | 9 | 40 | 0 | 9 | 16 | C | 83 | IZO | 54.3415 | 31.8572 | 100.2926 | 278.9016 | 292.3925 | 278.4658 | 268.4773 | 274.9378 | 0.57736 | 0.23051 | 0.58024 | 0.10544 | 0.58311 | 0.49778 | 2016-09-21 09:40 | 1.732 | 1.7404 | 2016-09-21 09:41 | 1.7234 | 1.7316 | 2016-09-21 09:42 | 1.7149 | 1.7229 | 2016-09-21 09:40 | 1.7277 | 1.736 | 2016-09-21 09:42 | 1.7192 | 1.7273 | 0.5788 | 0.12507 | 0.58168 | 0.39234
56.2 | 32.4 | 108.5 | 21 | 9 | 44 | 0 | 9 | 16 | C | 83 | IZO | 53.3153 | 31.4552 | 98.4278 | 279.1579 | 295.9537 | 278.6618 | 266.1746 | 274.2838 | 0.58882 | 0.23072 | 0.59166 | 0.10672 | 0.59449 | 0.49813 | 2016-09-21 09:44 | 1.6983 | 1.706 | 2016-09-21 09:45 | 1.6902 | 1.6977 | 2016-09-21 09:46 | 1.6821 | 1.6895 | 2016-09-21 09:44 | 1.6942 | 1.7018 | 2016-09-21 09:46 | 1.6861 | 1.6935 | 0.59024 | 0.124 | 0.59307 | 0.39141
55 | 31.9 | 106.7 | 21 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 52.1934 | 30.9522 | 96.7542 | 278.3256 | 297.4188 | 279.1748 | 263.563 | 274.5565 | 0.60011 | 0.23004 | 0.60291 | 0.10725 | 0.60569 | 0.49905 | 2016-09-21 09:48 | 1.6664 | 1.6734 | 2016-09-21 09:49 | 1.6586 | 1.6655 | 2016-09-21 09:50 | 1.651 | 1.6577 | 2016-09-21 09:48 | 1.6625 | 1.6694 | 2016-09-21 09:50 | 1.6548 | 1.6616 | 0.60151 | 0.12278 | 0.6043 | 0.39179
48.2 | 28 | 93.9 | 21 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 45.7687 | 27.0024 | 84.7415 | 278.2419 | 294.2038 | 277.9078 | 265.898 | 273.7835 | 0.68388 | 0.22997 | 0.6863 | 0.10609 | 0.68871 | 0.49678 | 2016-09-21 10:20 | 1.4622 | 1.4659 | 2016-09-21 10:21 | 1.4571 | 1.4606 | 2016-09-21 10:22 | 1.452 | 1.4555 | 2016-09-21 10:20 | 1.4597 | 1.4632 | 2016-09-21 10:22 | 1.4545 | 1.458 | 0.68509 | 0.12387 | 0.68751 | 0.39069
47.5 | 27.6 | 92.5 | 21 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 45.0998 | 26.5942 | 83.4246 | 277.9606 | 293.5117 | 277.274 | 265.9343 | 273.1645 | 0.69348 | 0.22974 | 0.69585 | 0.10584 | 0.6982 | 0.49565 | 2016-09-21 10:24 | 1.442 | 1.4453 | 2016-09-21 10:25 | 1.4371 | 1.4404 | 2016-09-21 10:26 | 1.4322 | 1.4354 | 2016-09-21 10:24 | 1.4395 | 1.4428 | 2016-09-21 10:25 | 1.4347 | 1.4379 | 0.69467 | 0.12389 | 0.69703 | 0.38981
46.9 | 27.5 | 91.6 | 21 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 44.5248 | 26.4921 | 82.5805 | 278.2116 | 298.4364 | 278.2756 | 262.5672 | 273.1748 | 0.70288 | 0.22994 | 0.70519 | 0.10762 | 0.70749 | 0.49744 | 2016-09-21 10:28 | 1.4227 | 1.4258 | 2016-09-21 10:29 | 1.4181 | 1.4211 | 2016-09-21 10:30 | 1.4134 | 1.4164 | 2016-09-21 10:28 | 1.4204 | 1.4234 | 2016-09-21 10:30 | 1.4157 | 1.4187 | 0.70404 | 0.12232 | 0.70635 | 0.38982
46.3 | 27 | 90.5 | 21 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 43.9481 | 25.9809 | 81.5521 | 278.2061 | 295.0505 | 278.3548 | 265.1779 | 274.1298 | 0.71206 | 0.22994 | 0.71433 | 0.1064 | 0.71658 | 0.49758 | 2016-09-21 10:32 | 1.4044 | 1.4072 | 2016-09-21 10:33 | 1.3999 | 1.4027 | 2016-09-21 10:34 | 1.3955 | 1.3983 | 2016-09-21 10:32 | 1.4021 | 1.4049 | 2016-09-21 10:34 | 1.3977 | 1.4005 | 0.71319 | 0.12354 | 0.71545 | 0.39118
45.9 | 26.7 | 89.6 | 21 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 43.5628 | 25.6738 | 80.7129 | 279.6301 | 295.3468 | 279.0011 | 267.4745 | 274.8647 | 0.72104 | 0.23112 | 0.72325 | 0.10651 | 0.72544 | 0.49874 | 2016-09-21 10:36 | 1.3869 | 1.3895 | 2016-09-21 10:37 | 1.3827 | 1.3852 | 2016-09-21 10:38 | 1.3785 | 1.381 | 2016-09-21 10:36 | 1.3848 | 1.3874 | 2016-09-21 10:38 | 1.3806 | 1.3831 | 0.72214 | 0.12461 | 0.72435 | 0.39223
45.3 | 26.5 | 88.8 | 21 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 42.9839 | 25.4688 | 79.9683 | 279.1483 | 297.4129 | 279.8561 | 265.0202 | 275.4137 | 0.7298 | 0.23072 | 0.73195 | 0.10725 | 0.7341 | 0.50026 | 2016-09-21 10:40 | 1.3702 | 1.3727 | 2016-09-21 10:41 | 1.3662 | 1.3686 | 2016-09-21 10:42 | 1.3622 | 1.3645 | 2016-09-21 10:40 | 1.3682 | 1.3706 | 2016-09-21 10:41 | 1.3642 | 1.3665 | 0.73088 | 0.12347 | 0.73303 | 0.39301
44.7 | 26.1 | 87.8 | 21 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 42.4038 | 25.0586 | 79.0391 | 278.421 | 295.0098 | 279.775 | 265.5898 | 275.9195 | 0.73834 | 0.23012 | 0.74044 | 0.10638 | 0.74253 | 0.50012 | 2016-09-21 10:44 | 1.3544 | 1.3566 | 2016-09-21 10:45 | 1.3505 | 1.3527 | 2016-09-21 10:46 | 1.3467 | 1.3489 | 2016-09-21 10:44 | 1.3525 | 1.3547 | 2016-09-21 10:46 | 1.3486 | 1.3508 | 0.73939 | 0.12373 | 0.74149 | 0.39374
44.5 | 25.9 | 86.8 | 21 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 42.2101 | 24.8532 | 78.1112 | 280.9534 | 296.5163 | 279.5148 | 268.9159 | 275.2129 | 0.74667 | 0.23221 | 0.74871 | 0.10693 | 0.75074 | 0.49965 | 2016-09-21 10:48 | 1.3393 | 1.3413 | 2016-09-21 10:49 | 1.3356 | 1.3376 | 2016-09-21 10:50 | 1.332 | 1.334 | 2016-09-21 10:48 | 1.3375 | 1.3395 | 2016-09-21 10:50 | 1.3338 | 1.3358 | 0.74769 | 0.12528 | 0.74973 | 0.39273
43.8 | 25.7 | 86 | 21 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 41.5311 | 24.6477 | 77.3695 | 278.9013 | 297.7722 | 279.8632 | 264.303 | 275.3321 | 0.75477 | 0.23051 | 0.75676 | 0.10738 | 0.75873 | 0.50028 | 2016-09-21 10:52 | 1.3249 | 1.3268 | 2016-09-21 10:53 | 1.3214 | 1.3233 | 2016-09-21 10:54 | 1.318 | 1.3198 | 2016-09-21 10:52 | 1.3232 | 1.325 | 2016-09-21 10:54 | 1.3197 | 1.3215 | 0.75576 | 0.12313 | 0.75775 | 0.3929
43.8 | 25.7 | 85.2 | 21 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 41.5311 | 24.6477 | 76.6283 | 282.8694 | 303.1387 | 280.0498 | 267.1885 | 274.2098 | 0.76264 | 0.23379 | 0.76458 | 0.10932 | 0.7665 | 0.50061 | 2016-09-21 10:56 | 1.3112 | 1.313 | 2016-09-21 10:57 | 1.3079 | 1.3096 | 2016-09-21 10:58 | 1.3046 | 1.3063 | 2016-09-21 10:56 | 1.3096 | 1.3113 | 2016-09-21 10:57 | 1.3063 | 1.308 | 0.76361 | 0.12448 | 0.76554 | 0.3913
43 | 25.5 | 84.4 | 21 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 40.7529 | 24.4421 | 75.8875 | 279.4693 | 303.9456 | 280.0764 | 260.5317 | 274.0393 | 0.77029 | 0.23098 | 0.77217 | 0.10961 | 0.77403 | 0.50066 | 2016-09-21 11:00 | 1.2982 | 1.2998 | 2016-09-21 11:01 | 1.295 | 1.2966 | 2016-09-21 11:02 | 1.2919 | 1.2935 | 2016-09-21 11:01 | 1.2966 | 1.2982 | 2016-09-21 11:02 | 1.2935 | 1.295 | 0.77123 | 0.12138 | 0.7731 | 0.39105
41.9 | 25.3 | 83.6 | 21 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 39.6785 | 24.2364 | 75.148 | 273.0268 | 304.5069 | 279.9492 | 248.6678 | 273.7381 | 0.77771 | 0.22566 | 0.77953 | 0.10981 | 0.78134 | 0.50043 | 2016-09-21 11:04 | 1.2858 | 1.2873 | 2016-09-21 11:05 | 1.2828 | 1.2843 | 2016-09-21 11:06 | 1.2799 | 1.2813 | 2016-09-21 11:04 | 1.2843 | 1.2858 | 2016-09-21 11:06 | 1.2813 | 1.2828 | 0.77863 | 0.11585 | 0.78044 | 0.39062
42.3 | 25.1 | 83.1 | 21 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 40.0698 | 24.0305 | 74.6864 | 280.2018 | 304.8252 | 280.8899 | 261.1499 | 274.8362 | 0.7849 | 0.23159 | 0.78666 | 0.10992 | 0.78841 | 0.50211 | 2016-09-21 11:08 | 1.274 | 1.2754 | 2016-09-21 11:09 | 1.2712 | 1.2725 | 2016-09-21 11:10 | 1.2684 | 1.2697 | 2016-09-21 11:08 | 1.2726 | 1.274 | 2016-09-21 11:10 | 1.2698 | 1.2711 | 0.78578 | 0.12166 | 0.78754 | 0.39219
41.9 | 25.1 | 82.3 | 21 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 39.6785 | 24.0305 | 73.9486 | 279.8317 | 309.4362 | 280.467 | 256.9241 | 273.1413 | 0.79186 | 0.23128 | 0.79356 | 0.11159 | 0.79524 | 0.50136 | 2016-09-21 11:12 | 1.2629 | 1.2641 | 2016-09-21 11:13 | 1.2601 | 1.2614 | 2016-09-21 11:14 | 1.2575 | 1.2587 | 2016-09-21 11:12 | 1.2615 | 1.2627 | 2016-09-21 11:13 | 1.2588 | 1.26 | 0.79271 | 0.1197 | 0.7944 | 0.38977
41.6 | 24.8 | 81.6 | 21 | 11 | 16 | 0 | 9 | 16 | C | 83 | IZO | 39.3845 | 23.7215 | 73.3034 | 280.2235 | 307.0301 | 280.3056 | 259.4814 | 273.5472 | 0.79857 | 0.23161 | 0.80021 | 0.11072 | 0.80184 | 0.50107 | 2016-09-21 11:16 | 1.2522 | 1.2534 | 2016-09-21 11:17 | 1.2497 | 1.2508 | 2016-09-21 11:18 | 1.2471 | 1.2482 | 2016-09-21 11:17 | 1.2509 | 1.2521 | 2016-09-21 11:18 | 1.2484 | 1.2495 | 0.7994 | 0.12089 | 0.80103 | 0.39035
41.2 | 24.7 | 81.1 | 21 | 11 | 20 | 0 | 9 | 16 | C | 83 | IZO | 38.992 | 23.6184 | 72.8426 | 279.4937 | 308.9608 | 280.8325 | 256.6921 | 273.7195 | 0.80505 | 0.231 | 0.80663 | 0.11141 | 0.8082 | 0.50201 | 2016-09-21 11:20 | 1.2422 | 1.2432 | 2016-09-21 11:21 | 1.2397 | 1.2408 | 2016-09-21 11:22 | 1.2373 | 1.2383 | 2016-09-21 11:20 | 1.2409 | 1.242 | 2016-09-21 11:22 | 1.2385 | 1.2395 | 0.80584 | 0.11959 | 0.80742 | 0.3906
40.9 | 24.5 | 80.5 | 21 | 11 | 24 | 0 | 9 | 16 | C | 83 | IZO | 38.6971 | 23.4121 | 72.2895 | 279.548 | 308.371 | 280.8082 | 257.2447 | 273.8381 | 0.81129 | 0.23105 | 0.81281 | 0.1112 | 0.81432 | 0.50197 | 2016-09-21 11:24 | 1.2326 | 1.2336 | 2016-09-21 11:25 | 1.2303 | 1.2313 | 2016-09-21 11:26 | 1.228 | 1.229 | 2016-09-21 11:24 | 1.2315 | 1.2324 | 2016-09-21 11:26 | 1.2292 | 1.2301 | 0.81205 | 0.11985 | 0.81356 | 0.39076

## IdD083_star
This Page uses the lamp tests and the langley plot results in the limited mu range from sheet IdD083 | [21 empty] | the correction values from ID083 are applied to the NC
Dobson 083 at IZO 2016.Sep.21 Langley Plot Results | [15 empty] | 109
SLC083Na | -0.8 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.7
D083 LP adj. A:0.35 C:-0.05 D:0.47 Nad:-0.12 | [20 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83
[15 empty] | 276.955 | 279.0801 | 277.1162 | 275.3599 | 276.6012 | All Obs | -0.04768 |  | 0.47197 |  | 0.35165 | -0.12032 | -0.51965
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD* | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD
142.1 | 81.9 | 253.8 | 21 | 7 | 56 | 0 | 9 | 16 | C | 83 | IZO | 132.8381 | 76.9687 | 240.3831 | 274.9503 | 282.6285 | 276.6005 | 269.2901 | 274.9845 | 0.23644 | 0.22725 | 0.2399 | 0.10192 | 0.24336 | 0.49445 | 2016-09-21 07:56 | 4.2293 | 4.4339 | 2016-09-21 07:57 | 4.1684 | 4.3634 | 2016-09-21 07:58 | 4.1091 | 4.295 | 2016-09-21 07:56 | 4.1987 | 4.3984 | 2016-09-21 07:57 | 4.1386 | 4.3289
134.7 | 77.1 | 241.4 | 21 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 125.8727 | 72.5637 | 227.7828 | 276.7113 | 282.4617 | 277.3815 | 272.4958 | 276.0199 | 0.25029 | 0.2287 | 0.25376 | 0.10186 | 0.25723 | 0.49584 | 2016-09-21 08:00 | 3.9954 | 4.1647 | 2016-09-21 08:01 | 3.9408 | 4.1025 | 2016-09-21 08:02 | 3.8876 | 4.0422 | 2016-09-21 08:01 | 3.9679 | 4.1334 | 2016-09-21 08:02 | 3.914 | 4.0722
127.2 | 72.9 | 230.2 | 21 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 118.838 | 68.7195 | 216.2389 | 275.8699 | 282.9239 | 277.7981 | 270.6082 | 276.4367 | 0.26417 | 0.22801 | 0.26765 | 0.10203 | 0.27112 | 0.49659 | 2016-09-21 08:04 | 3.7854 | 3.9269 | 2016-09-21 08:05 | 3.7363 | 3.8718 | 2016-09-21 08:06 | 3.6884 | 3.8182 | 2016-09-21 08:04 | 3.7607 | 3.8992 | 2016-09-21 08:06 | 3.7122 | 3.8448
121 | 69 | 220 | 21 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 113.0661 | 65.1613 | 205.9569 | 276.8556 | 282.5147 | 278.4054 | 272.6438 | 277.3103 | 0.27807 | 0.22882 | 0.28155 | 0.10188 | 0.28502 | 0.49767 | 2016-09-21 08:08 | 3.5962 | 3.7156 | 2016-09-21 08:09 | 3.5518 | 3.6663 | 2016-09-21 08:10 | 3.5085 | 3.6184 | 2016-09-21 08:08 | 3.5739 | 3.6908 | 2016-09-21 08:10 | 3.53 | 3.6422
115.2 | 65.8 | 210.2 | 21 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 107.6834 | 62.2417 | 196.176 | 277.2094 | 284.4523 | 278.2132 | 271.7476 | 276.5875 | 0.29197 | 0.22911 | 0.29544 | 0.10258 | 0.29891 | 0.49733 | 2016-09-21 08:12 | 3.425 | 3.5265 | 2016-09-21 08:13 | 3.3848 | 3.4823 | 2016-09-21 08:14 | 3.3455 | 3.4393 | 2016-09-21 08:12 | 3.4048 | 3.5042 | 2016-09-21 08:13 | 3.365 | 3.4606
109.8 | 62.1 | 201 | 21 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 102.6831 | 58.8462 | 187.1039 | 277.0951 | 279.917 | 277.6936 | 275.0357 | 277.089 | 0.30585 | 0.22902 | 0.30931 | 0.10094 | 0.31277 | 0.4964 | 2016-09-21 08:16 | 3.2696 | 3.3565 | 2016-09-21 08:17 | 3.233 | 3.3166 | 2016-09-21 08:18 | 3.1972 | 3.2777 | 2016-09-21 08:17 | 3.2512 | 3.3364 | 2016-09-21 08:18 | 3.215 | 3.297
104.8 | 59.6 | 193.2 | 21 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 98.0476 | 56.541 | 179.4217 | 276.6339 | 282.4 | 278.2507 | 272.2795 | 277.1644 | 0.31969 | 0.22864 | 0.32315 | 0.10184 | 0.3266 | 0.4974 | 2016-09-21 08:20 | 3.128 | 3.2028 | 2016-09-21 08:21 | 3.0945 | 3.1667 | 2016-09-21 08:22 | 3.0618 | 3.1314 | 2016-09-21 08:20 | 3.1112 | 3.1846 | 2016-09-21 08:22 | 3.0781 | 3.149
100.6 | 57.1 | 185.4 | 21 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 94.143 | 54.2245 | 171.7384 | 277.4858 | 282.8673 | 277.5557 | 273.4157 | 276.18 | 0.3335 | 0.22934 | 0.33694 | 0.102 | 0.34038 | 0.49615 | 2016-09-21 08:24 | 2.9985 | 3.0634 | 2016-09-21 08:25 | 2.9679 | 3.0305 | 2016-09-21 08:26 | 2.9379 | 2.9984 | 2016-09-21 08:24 | 2.9831 | 3.0468 | 2016-09-21 08:26 | 2.9528 | 3.0143
96.2 | 54.6 | 178.5 | 21 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 90.0565 | 51.8973 | 164.9363 | 276.1822 | 281.3178 | 277.3556 | 272.2911 | 276.3246 | 0.34725 | 0.22827 | 0.35068 | 0.10145 | 0.35411 | 0.4958 | 2016-09-21 08:28 | 2.8797 | 2.9363 | 2016-09-21 08:29 | 2.8516 | 2.9063 | 2016-09-21 08:30 | 2.824 | 2.8769 | 2016-09-21 08:28 | 2.8656 | 2.9212 | 2016-09-21 08:29 | 2.8377 | 2.8915
92.7 | 52.6 | 172.2 | 21 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 86.8139 | 50.0223 | 158.7829 | 277.114 | 282.4245 | 277.3755 | 273.0781 | 276.0728 | 0.36094 | 0.22904 | 0.36435 | 0.10185 | 0.36776 | 0.49583 | 2016-09-21 08:32 | 2.7705 | 2.82 | 2016-09-21 08:33 | 2.7446 | 2.7925 | 2016-09-21 08:34 | 2.7192 | 2.7656 | 2016-09-21 08:33 | 2.7575 | 2.8062 | 2016-09-21 08:34 | 2.7318 | 2.779
89.3 | 50.3 | 166.3 | 21 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 83.6615 | 47.85 | 153.0139 | 277.2877 | 278.8503 | 277.2015 | 276.1449 | 276.7606 | 0.37456 | 0.22918 | 0.37795 | 0.10056 | 0.38134 | 0.49552 | 2016-09-21 08:36 | 2.6698 | 2.7134 | 2016-09-21 08:37 | 2.6458 | 2.6881 | 2016-09-21 08:38 | 2.6223 | 2.6633 | 2016-09-21 08:36 | 2.6578 | 2.7006 | 2016-09-21 08:38 | 2.634 | 2.6756
85.9 | 48.5 | 160.8 | 21 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 80.5101 | 46.1388 | 147.6351 | 276.3324 | 278.5048 | 276.9363 | 274.7107 | 276.518 | 0.3881 | 0.22839 | 0.39147 | 0.10043 | 0.39484 | 0.49505 | 2016-09-21 08:40 | 2.5767 | 2.6151 | 2016-09-21 08:41 | 2.5545 | 2.5918 | 2016-09-21 08:42 | 2.5327 | 2.5689 | 2016-09-21 08:40 | 2.5655 | 2.6034 | 2016-09-21 08:42 | 2.5435 | 2.5803
83.1 | 47 | 155.9 | 21 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 77.9269 | 44.7049 | 142.8884 | 277.0082 | 279.848 | 277.2236 | 274.8639 | 276.5403 | 0.40155 | 0.22895 | 0.4049 | 0.10092 | 0.40824 | 0.49556 | 2016-09-21 08:44 | 2.4903 | 2.5245 | 2016-09-21 08:45 | 2.4698 | 2.5029 | 2016-09-21 08:46 | 2.4495 | 2.4817 | 2016-09-21 08:44 | 2.48 | 2.5136 | 2016-09-21 08:46 | 2.4596 | 2.4923
80.2 | 45.5 | 151.2 | 21 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 75.2598 | 43.2634 | 138.3308 | 276.3236 | 279.8937 | 277.1641 | 273.6089 | 276.4559 | 0.41491 | 0.22838 | 0.41823 | 0.10093 | 0.42155 | 0.49545 | 2016-09-21 08:48 | 2.4102 | 2.4406 | 2016-09-21 08:49 | 2.391 | 2.4205 | 2016-09-21 08:50 | 2.3722 | 2.4009 | 2016-09-21 08:49 | 2.4006 | 2.4305 | 2016-09-21 08:50 | 2.3816 | 2.4107
77.7 | 44 | 146.8 | 21 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 72.9586 | 41.815 | 134.0877 | 276.5727 | 278.6471 | 277.1078 | 275.0114 | 276.7018 | 0.42816 | 0.22859 | 0.43146 | 0.10048 | 0.43475 | 0.49535 | 2016-09-21 08:52 | 2.3355 | 2.3627 | 2016-09-21 08:53 | 2.3177 | 2.3441 | 2016-09-21 08:54 | 2.3002 | 2.3258 | 2016-09-21 08:52 | 2.3266 | 2.3533 | 2016-09-21 08:54 | 2.3089 | 2.3349
75.3 | 42.8 | 142.7 | 21 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 70.7471 | 40.6509 | 130.1697 | 276.4619 | 279.7018 | 277.1548 | 273.9944 | 276.4955 | 0.44131 | 0.2285 | 0.44458 | 0.10086 | 0.44785 | 0.49544 | 2016-09-21 08:56 | 2.266 | 2.2903 | 2016-09-21 08:57 | 2.2493 | 2.2729 | 2016-09-21 08:58 | 2.2329 | 2.2559 | 2016-09-21 08:56 | 2.2576 | 2.2816 | 2016-09-21 08:58 | 2.2411 | 2.2644
73.2 | 41.7 | 139.1 | 21 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 68.8118 | 39.5794 | 126.7363 | 277.0629 | 280.9419 | 277.7918 | 274.0975 | 276.981 | 0.45435 | 0.22899 | 0.45759 | 0.10131 | 0.46083 | 0.49657 | 2016-09-21 09:00 | 2.2009 | 2.2228 | 2016-09-21 09:01 | 2.1854 | 2.2066 | 2016-09-21 09:02 | 2.17 | 2.1907 | 2016-09-21 09:00 | 2.1931 | 2.2147 | 2016-09-21 09:02 | 2.1777 | 2.1986
71.1 | 40.4 | 135.2 | 21 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 66.877 | 38.3075 | 123.018 | 276.9532 | 278.6494 | 277.0879 | 275.6743 | 276.6796 | 0.46727 | 0.2289 | 0.47048 | 0.10048 | 0.47368 | 0.49532 | 2016-09-21 09:04 | 2.1401 | 2.1598 | 2016-09-21 09:05 | 2.1255 | 2.1446 | 2016-09-21 09:06 | 2.1111 | 2.1298 | 2016-09-21 09:05 | 2.1328 | 2.1522 | 2016-09-21 09:06 | 2.1183 | 2.1372
69.1 | 39.3 | 131.9 | 21 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 65.036 | 37.2262 | 119.8634 | 276.6791 | 277.8587 | 277.2955 | 275.7975 | 277.1404 | 0.48006 | 0.22868 | 0.48324 | 0.1002 | 0.48641 | 0.49569 | 2016-09-21 09:08 | 2.0831 | 2.1008 | 2016-09-21 09:09 | 2.0694 | 2.0867 | 2016-09-21 09:10 | 2.0559 | 2.0727 | 2016-09-21 09:08 | 2.0762 | 2.0937 | 2016-09-21 09:10 | 2.0626 | 2.0797
67.5 | 38.3 | 128.7 | 21 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 63.5627 | 36.2388 | 116.8089 | 277.9225 | 277.4523 | 277.2447 | 278.3156 | 277.1802 | 0.49273 | 0.2297 | 0.49587 | 0.10005 | 0.49901 | 0.4956 | 2016-09-21 09:12 | 2.0295 | 2.0456 | 2016-09-21 09:13 | 2.0166 | 2.0323 | 2016-09-21 09:14 | 2.004 | 2.0192 | 2016-09-21 09:12 | 2.0231 | 2.0389 | 2016-09-21 09:14 | 2.0103 | 2.0257
65.8 | 37.5 | 125.7 | 21 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 61.9949 | 35.4463 | 113.9505 | 278.031 | 278.9564 | 277.2347 | 277.3417 | 276.7882 | 0.50526 | 0.22979 | 0.50837 | 0.10059 | 0.51147 | 0.49558 | 2016-09-21 09:16 | 1.9792 | 1.9937 | 2016-09-21 09:17 | 1.9671 | 1.9813 | 2016-09-21 09:18 | 1.9551 | 1.969 | 2016-09-21 09:16 | 1.9731 | 1.9875 | 2016-09-21 09:18 | 1.9611 | 1.9751
64.2 | 36.6 | 122.9 | 21 | 9 | 20 | 0 | 9 | 16 | C | 83 | IZO | 60.5162 | 34.552 | 111.2954 | 278.1157 | 278.2982 | 277.3322 | 277.9995 | 277.0773 | 0.51765 | 0.22986 | 0.52073 | 0.10036 | 0.52379 | 0.49575 | 2016-09-21 09:20 | 1.9318 | 1.945 | 2016-09-21 09:21 | 1.9204 | 1.9333 | 2016-09-21 09:22 | 1.9092 | 1.9218 | 2016-09-21 09:20 | 1.9261 | 1.9391 | 2016-09-21 09:22 | 1.9148 | 1.9275
62.6 | 35.6 | 120 | 21 | 9 | 24 | 0 | 9 | 16 | C | 83 | IZO | 59.0358 | 33.5555 | 108.5677 | 277.6389 | 275.3714 | 276.7548 | 279.4174 | 277.0942 | 0.5299 | 0.22947 | 0.53294 | 0.099302 | 0.53597 | 0.49472 | 2016-09-21 09:24 | 1.8872 | 1.8992 | 2016-09-21 09:25 | 1.8764 | 1.8881 | 2016-09-21 09:26 | 1.8658 | 1.8773 | 2016-09-21 09:24 | 1.8818 | 1.8936 | 2016-09-21 09:26 | 1.8711 | 1.8827
61.1 | 35.2 | 117.4 | 21 | 9 | 28 | 0 | 9 | 16 | C | 83 | IZO | 57.6457 | 33.1561 | 106.1292 | 277.2083 | 280.6512 | 276.6017 | 274.5654 | 275.5686 | 0.542 | 0.22911 | 0.545 | 0.10121 | 0.54799 | 0.49445 | 2016-09-21 09:28 | 1.845 | 1.856 | 2016-09-21 09:29 | 1.8349 | 1.8456 | 2016-09-21 09:30 | 1.8249 | 1.8353 | 2016-09-21 09:28 | 1.8399 | 1.8508 | 2016-09-21 09:30 | 1.8298 | 1.8404
59.8 | 34.4 | 115.1 | 21 | 9 | 32 | 0 | 9 | 16 | C | 83 | IZO | 56.4385 | 32.3561 | 103.9677 | 277.4894 | 279.3303 | 276.8967 | 276.085 | 276.2724 | 0.55394 | 0.22935 | 0.5569 | 0.10073 | 0.55986 | 0.49497 | 2016-09-21 09:32 | 1.8052 | 1.8152 | 2016-09-21 09:33 | 1.7956 | 1.8054 | 2016-09-21 09:34 | 1.7862 | 1.7957 | 2016-09-21 09:32 | 1.8004 | 1.8103 | 2016-09-21 09:34 | 1.7909 | 1.8006
58.4 | 33.7 | 112.8 | 21 | 9 | 36 | 0 | 9 | 16 | C | 83 | IZO | 55.1356 | 31.6549 | 101.8059 | 276.6578 | 278.8942 | 276.8112 | 274.946 | 276.2759 | 0.56573 | 0.22866 | 0.56865 | 0.10057 | 0.57157 | 0.49482 | 2016-09-21 09:36 | 1.7676 | 1.7768 | 2016-09-21 09:37 | 1.7585 | 1.7675 | 2016-09-21 09:38 | 1.7496 | 1.7583 | 2016-09-21 09:36 | 1.7631 | 1.7721 | 2016-09-21 09:38 | 1.754 | 1.7629
57.3 | 32.8 | 110.5 | 21 | 9 | 40 | 0 | 9 | 16 | C | 83 | IZO | 54.1107 | 30.7519 | 99.6498 | 277.2888 | 274.6076 | 276.369 | 279.3823 | 276.8056 | 0.57736 | 0.22918 | 0.58024 | 0.099026 | 0.58311 | 0.49403 | 2016-09-21 09:40 | 1.732 | 1.7404 | 2016-09-21 09:41 | 1.7234 | 1.7316 | 2016-09-21 09:42 | 1.7149 | 1.7229 | 2016-09-21 09:40 | 1.7277 | 1.736 | 2016-09-21 09:42 | 1.7192 | 1.7273
56.2 | 32.4 | 108.5 | 21 | 9 | 44 | 0 | 9 | 16 | C | 83 | IZO | 53.0844 | 30.3499 | 97.785 | 277.5131 | 277.8188 | 276.5242 | 277.2937 | 276.1889 | 0.58882 | 0.22937 | 0.59166 | 0.10018 | 0.59449 | 0.49431 | 2016-09-21 09:44 | 1.6983 | 1.706 | 2016-09-21 09:45 | 1.6902 | 1.6977 | 2016-09-21 09:46 | 1.6821 | 1.6895 | 2016-09-21 09:44 | 1.6942 | 1.7018 | 2016-09-21 09:46 | 1.6861 | 1.6935
55 | 31.9 | 106.7 | 21 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 51.9626 | 29.8469 | 96.1114 | 276.6492 | 278.9392 | 276.9969 | 274.893 | 276.4982 | 0.60011 | 0.22865 | 0.60291 | 0.10059 | 0.60569 | 0.49515 | 2016-09-21 09:48 | 1.6664 | 1.6734 | 2016-09-21 09:49 | 1.6586 | 1.6655 | 2016-09-21 09:50 | 1.651 | 1.6577 | 2016-09-21 09:48 | 1.6625 | 1.6694 | 2016-09-21 09:50 | 1.6548 | 1.6616
48.2 | 28 | 93.9 | 21 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 45.5379 | 25.8971 | 84.0987 | 276.3315 | 273.168 | 275.4314 | 278.7913 | 275.9972 | 0.68388 | 0.22839 | 0.6863 | 0.098507 | 0.68871 | 0.49236 | 2016-09-21 10:20 | 1.4622 | 1.4659 | 2016-09-21 10:21 | 1.4571 | 1.4606 | 2016-09-21 10:22 | 1.452 | 1.4555 | 2016-09-21 10:20 | 1.4597 | 1.4632 | 2016-09-21 10:22 | 1.4545 | 1.458
47.5 | 27.6 | 92.5 | 21 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 44.8689 | 25.4889 | 82.7819 | 276.0234 | 272.1832 | 274.7634 | 279.0066 | 275.4094 | 0.69348 | 0.22813 | 0.69585 | 0.098152 | 0.6982 | 0.49116 | 2016-09-21 10:24 | 1.442 | 1.4453 | 2016-09-21 10:25 | 1.4371 | 1.4404 | 2016-09-21 10:26 | 1.4322 | 1.4354 | 2016-09-21 10:24 | 1.4395 | 1.4428 | 2016-09-21 10:25 | 1.4347 | 1.4379
46.9 | 27.5 | 91.6 | 21 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 44.2939 | 25.3868 | 81.9377 | 276.2482 | 276.8216 | 275.7316 | 275.8146 | 275.4502 | 0.70288 | 0.22832 | 0.70519 | 0.099825 | 0.70749 | 0.49289 | 2016-09-21 10:28 | 1.4227 | 1.4258 | 2016-09-21 10:29 | 1.4181 | 1.4211 | 2016-09-21 10:30 | 1.4134 | 1.4164 | 2016-09-21 10:28 | 1.4204 | 1.4234 | 2016-09-21 10:30 | 1.4157 | 1.4187
46.3 | 27 | 90.5 | 21 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 43.7173 | 24.8756 | 80.9093 | 276.217 | 273.1558 | 275.7782 | 278.5964 | 276.4351 | 0.71206 | 0.22829 | 0.71433 | 0.098503 | 0.71658 | 0.49298 | 2016-09-21 10:32 | 1.4044 | 1.4072 | 2016-09-21 10:33 | 1.3999 | 1.4027 | 2016-09-21 10:34 | 1.3955 | 1.3983 | 2016-09-21 10:32 | 1.4021 | 1.4049 | 2016-09-21 10:34 | 1.3977 | 1.4005
45.9 | 26.7 | 89.6 | 21 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 43.332 | 24.5685 | 80.0701 | 277.616 | 273.1787 | 276.3926 | 281.0602 | 277.1991 | 0.72104 | 0.22945 | 0.72325 | 0.098511 | 0.72544 | 0.49407 | 2016-09-21 10:36 | 1.3869 | 1.3895 | 2016-09-21 10:37 | 1.3827 | 1.3852 | 2016-09-21 10:38 | 1.3785 | 1.381 | 2016-09-21 10:36 | 1.3848 | 1.3874 | 2016-09-21 10:38 | 1.3806 | 1.3831
45.3 | 26.5 | 88.8 | 21 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 42.753 | 24.3635 | 79.3256 | 277.1097 | 274.9778 | 277.2165 | 278.7691 | 277.7766 | 0.7298 | 0.22903 | 0.73195 | 0.09916 | 0.7341 | 0.49555 | 2016-09-21 10:40 | 1.3702 | 1.3727 | 2016-09-21 10:41 | 1.3662 | 1.3686 | 2016-09-21 10:42 | 1.3622 | 1.3645 | 2016-09-21 10:40 | 1.3682 | 1.3706 | 2016-09-21 10:41 | 1.3642 | 1.3665
44.7 | 26.1 | 87.8 | 21 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 42.1729 | 23.9532 | 78.3963 | 276.3585 | 272.3145 | 277.105 | 279.4977 | 278.3101 | 0.73834 | 0.22841 | 0.74044 | 0.0982 | 0.74253 | 0.49535 | 2016-09-21 10:44 | 1.3544 | 1.3566 | 2016-09-21 10:45 | 1.3505 | 1.3527 | 2016-09-21 10:46 | 1.3467 | 1.3489 | 2016-09-21 10:44 | 1.3525 | 1.3547 | 2016-09-21 10:46 | 1.3486 | 1.3508
44.5 | 25.9 | 86.8 | 21 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 41.9792 | 23.7479 | 77.4684 | 278.8676 | 273.5676 | 276.8153 | 282.9787 | 277.6306 | 0.74667 | 0.23048 | 0.74871 | 0.098651 | 0.75074 | 0.49483 | 2016-09-21 10:48 | 1.3393 | 1.3413 | 2016-09-21 10:49 | 1.3356 | 1.3376 | 2016-09-21 10:50 | 1.332 | 1.334 | 2016-09-21 10:48 | 1.3375 | 1.3395 | 2016-09-21 10:50 | 1.3338 | 1.3358
43.8 | 25.7 | 86 | 21 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 41.3003 | 23.5424 | 76.7268 | 276.7929 | 274.5768 | 277.135 | 278.5166 | 277.7761 | 0.75477 | 0.22877 | 0.75676 | 0.099015 | 0.75873 | 0.4954 | 2016-09-21 10:52 | 1.3249 | 1.3268 | 2016-09-21 10:53 | 1.3214 | 1.3233 | 2016-09-21 10:54 | 1.318 | 1.3198 | 2016-09-21 10:52 | 1.3232 | 1.325 | 2016-09-21 10:54 | 1.3197 | 1.3215
43.8 | 25.7 | 85.2 | 21 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 41.3003 | 23.5424 | 75.9855 | 280.739 | 279.7037 | 277.2937 | 281.5486 | 276.6794 | 0.76264 | 0.23203 | 0.76458 | 0.10086 | 0.7665 | 0.49568 | 2016-09-21 10:56 | 1.3112 | 1.313 | 2016-09-21 10:57 | 1.3079 | 1.3096 | 2016-09-21 10:58 | 1.3046 | 1.3063 | 2016-09-21 10:56 | 1.3096 | 1.3113 | 2016-09-21 10:57 | 1.3063 | 1.308
43 | 25.5 | 84.4 | 21 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 40.522 | 23.3368 | 75.2447 | 277.3175 | 280.2778 | 277.2932 | 275.0341 | 276.5338 | 0.77029 | 0.2292 | 0.77217 | 0.10107 | 0.77403 | 0.49568 | 2016-09-21 11:00 | 1.2982 | 1.2998 | 2016-09-21 11:01 | 1.295 | 1.2966 | 2016-09-21 11:02 | 1.2919 | 1.2935 | 2016-09-21 11:01 | 1.2966 | 1.2982 | 2016-09-21 11:02 | 1.2935 | 1.295
41.9 | 25.3 | 83.6 | 21 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 39.4476 | 23.1311 | 74.5052 | 270.8544 | 280.6135 | 277.1397 | 263.308 | 276.2567 | 0.77771 | 0.22386 | 0.77953 | 0.10119 | 0.78134 | 0.49541 | 2016-09-21 11:04 | 1.2858 | 1.2873 | 2016-09-21 11:05 | 1.2828 | 1.2843 | 2016-09-21 11:06 | 1.2799 | 1.2813 | 2016-09-21 11:04 | 1.2843 | 1.2858 | 2016-09-21 11:06 | 1.2813 | 1.2828
42.3 | 25.1 | 83.1 | 21 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 39.8389 | 22.9252 | 74.0437 | 278.0092 | 280.7133 | 278.055 | 275.9236 | 277.3782 | 0.7849 | 0.22978 | 0.78666 | 0.10123 | 0.78841 | 0.49705 | 2016-09-21 11:08 | 1.274 | 1.2754 | 2016-09-21 11:09 | 1.2712 | 1.2725 | 2016-09-21 11:10 | 1.2684 | 1.2697 | 2016-09-21 11:08 | 1.2726 | 1.274 | 2016-09-21 11:10 | 1.2698 | 1.2711
41.9 | 25.1 | 82.3 | 21 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 39.4476 | 22.9252 | 73.3058 | 277.6197 | 285.1129 | 277.6075 | 271.8269 | 275.7059 | 0.79186 | 0.22945 | 0.79356 | 0.10281 | 0.79524 | 0.49625 | 2016-09-21 11:12 | 1.2629 | 1.2641 | 2016-09-21 11:13 | 1.2601 | 1.2614 | 2016-09-21 11:14 | 1.2575 | 1.2587 | 2016-09-21 11:12 | 1.2615 | 1.2627 | 2016-09-21 11:13 | 1.2588 | 1.26
41.6 | 24.8 | 81.6 | 21 | 11 | 16 | 0 | 9 | 16 | C | 83 | IZO | 39.1537 | 22.6162 | 72.6606 | 277.9928 | 282.5028 | 277.4224 | 274.5089 | 276.1336 | 0.79857 | 0.22976 | 0.80021 | 0.10187 | 0.80184 | 0.49591 | 2016-09-21 11:16 | 1.2522 | 1.2534 | 2016-09-21 11:17 | 1.2497 | 1.2508 | 2016-09-21 11:18 | 1.2471 | 1.2482 | 2016-09-21 11:17 | 1.2509 | 1.2521 | 2016-09-21 11:18 | 1.2484 | 1.2495
41.2 | 24.7 | 81.1 | 21 | 11 | 20 | 0 | 9 | 16 | C | 83 | IZO | 38.7611 | 22.5131 | 72.1998 | 277.2449 | 284.2368 | 277.9265 | 271.8398 | 276.327 | 0.80505 | 0.22914 | 0.80663 | 0.1025 | 0.8082 | 0.49682 | 2016-09-21 11:20 | 1.2422 | 1.2432 | 2016-09-21 11:21 | 1.2397 | 1.2408 | 2016-09-21 11:22 | 1.2373 | 1.2383 | 2016-09-21 11:20 | 1.2409 | 1.242 | 2016-09-21 11:22 | 1.2385 | 1.2395
40.9 | 24.5 | 80.5 | 21 | 11 | 24 | 0 | 9 | 16 | C | 83 | IZO | 38.4662 | 22.3068 | 71.6468 | 277.2817 | 283.4576 | 277.8802 | 272.5081 | 276.4659 | 0.81129 | 0.22917 | 0.81281 | 0.10222 | 0.81432 | 0.49673 | 2016-09-21 11:24 | 1.2326 | 1.2336 | 2016-09-21 11:25 | 1.2303 | 1.2313 | 2016-09-21 11:26 | 1.228 | 1.229 | 2016-09-21 11:24 | 1.2315 | 1.2324 | 2016-09-21 11:26 | 1.2292 | 1.2301

## param
-0.9 | 1e-05 |  | -1.9 | 0
0 | 1 |  | -1 | 1
0.9 | 1e-05 |  | 1 | 1
|  |  | 1.9 | 0
304.6 | 1e-07 | 310.55 | 1e-06 | 316.7 | 1e-06 | 323.5 | 1e-06 | 323.1 | 1e-06 | 330.5 | 1e-06 | 338 | 1e-06
305.5 | 1000 | 311.45 | 1000 | 317.6 | 1000 | 324.4 | 1000 | 324 | 1000 | 331.4 | 1000 | 338.9 | 1000
306.4 | 1e-07 | 312.35 | 1e-06 | 318.5 | 1e-06 | 326.4 | 1000 | 326 | 1000 | 333.4 | 1000 | 340.9 | 1000
[6 empty] | 327.3 | 1e-06 | 326.9 | 1e-06 | 334.3 | 1e-06 | 341.8 | 1e-06
1.1111
304.6 | 0.001 | 310.55 | 0.001 | 316.7 | 0.001 | 323.5 | 0 | 323.1 | 0.001 | 330.5 | 0.001 | 338 | 1e-07
305.5 | 100 | 311.45 | 100 | 317.6 | 100 | 324.4 | 100 | 324 | 100 | 331.4 | 100 | 338.9 | 100
306.4 | 0.001 | 312.35 | 0.001 | 318.5 | 0.001 | 326.4 | 100 | 326 | 100 | 333.4 | 100 | 340.9 | 100
[6 empty] | 327.3 | 0 | 326.9 | 0.001 | 334.3 | 0.001 | 341.8 | 1e-07
58 | 0
92 | 0
code | number | name | Dobson | earth_radius | LONG | Hemisphere | degs | min | sec | LAT | Hemisphere | deg | min | sec | TimeZone | stn Pressure | elevation | Ozone_Height | LongRadian | LatRadian
IZO | 999 | Izana Observatory,Spain | 83 | 6373593 | 16.4973 | W | 16 | 29 | 25 | 28.2986 | N | 28 | 17 | 55 | 0 | 770 | 2360 | 26000 | 0.28781 | 0.4939
=IF( C13<90,(earth_radius+Ozone_height)/(SQRT(((earth_radius+Ozone_height)^2)-((earth_radius+Elevation)^2)*(SIN(RADIANS(C13)))^2)),-90000)
Public Function AirMass#(CosZenAng As Double) | [14 empty] | p0 | 0.75993
AirMass# = 1# / (CosZenAng + 0.15 / (90 - RadsToDegs#(ArcCos#(CosZenAng)) + 3.885) ^ 1.253)
End Function
Ozone Absorption and Molecular Scattering coefficients for Use
with Dobson ozone Spectrophotometers Beginning 1 January 1992
Wavelength | ALFA |  | BETA | d(BETA)/d(ALFA) | [5 empty] | IUP Corr-factor | B&BP Corr_factor | D&M |  |  | α_Komhyr r adj
(nm) | (atm-cm)-1 |  | (atm)-1 | (atm-cm/atm) |  |  |  |  | A_ pair | 0.9898 | 0.9969 | 0.9889 |  |  | 1.806
[9 empty] | C_pair | 0.9922 | 0.9983 | 0.9845 |  |  | 0.833
305 | 0.489 | [7 empty] | D_pair | 0.9642 | 0.9825 | 0.9562 |  |  | 0.374
325 | 0.375 | [7 empty] | AD_pair | 0.9965 | 1.0006 | 0.9975 |  |  | 1.432
Alfa_A | 1.7876 | Beta_A | 114 | 63 | 1000 |  |  |  | CD_pair | 1.015 | 1.0112 | 1.0076 |  |  | 0.459
|  |  | 0 | 0
308.9 | 0.466 |  | 0 | 0
329.1 | 0.355 |  | 0 | 0
Alfa_B | 1.192 | Beta_B | 111 | 93
|  |  | 0 | 0
311.5 | 0.45 |  | 0 | 0 |  |  | 5
332.4 | 0.341 |  | 0 | 0
Alfa_C | 0.8265 | Beta_C | 109 | 131
|  |  | 0 | 0
317.5 | 0.414 |  | 0 | 0
339.9 | 0.31 |  | 0 | 0
Alfa_D | 0.36061 | Beta_D | 104 | 278
|  |  | 0 | 0
Alfa_AD | 1.427 | Beta_AD | 10 | 7
Alfa_BD | 0.818 | Beta_BD | 7 | 9
Alfa_CD | 0.46588 | Beta_CD | 5 | 11

## Nfunc083
D83RA | D83NA | D83RC | D83NC | D83RD | D83ND | Rby5 | a | c | d | in pretty print
5 | -1.51 | 5 | 2.18 | 5 | 3.26 | 5 | -1.51 | 2.18 | 3.26 | -1.5 | 2.2 | 3.3 | 0.01 | 0.02 | 0.04
10.74 | 4.7 | 10.76 | 8.39 | 10.72 | 9.62 | 15 | 9.2606 | 12.8971 | 14.1824 | 9.2 | 12.9 | 14.2 | -0.060647 | 0.0029402 | 0.017648
16.48 | 10.83 | 16.51 | 14.49 | 16.44 | 15.7 | 25 | 19.7018 | 23.3471 | 24.6275 | 19.7 | 23.3 | 24.6 | -0.001759 | -0.047139 | -0.027526
22.22 | 16.83 | 22.27 | 20.51 | 22.16 | 21.69 | 35 | 29.9065 | 33.5082 | 34.7616 | 29.9 | 33.5 | 34.8 | -0.0065067 | -0.0081693 | 0.038446
27.96 | 22.74 | 28.02 | 26.46 | 27.88 | 27.58 | 45 | 39.8449 | 43.394 | 44.5867 | 39.8 | 43.4 | 44.6 | -0.044871 | 0.0060056 | 0.013291
33.7 | 28.59 | 33.78 | 32.28 | 33.6 | 33.36 | 55 | 49.3404 | 52.8934 | 54.076 | 49.3 | 52.9 | 54.1 | -0.040402 | 0.0065573 | 0.02402
39.87 | 34.8 | 39.99 | 38.5 | 40.01 | 39.73 | 65 | 58.6907 | 62.1867 | 63.3142 | 58.7 | 62.2 | 63.3 | 0.0093361 | 0.013335 | -0.014152
46.12 | 40.93 | 46.25 | 44.6 | 46.26 | 45.8 | 75 | 67.9965 | 71.4015 | 72.4459 | 68 | 71.4 | 72.4 | 0.0034853 | -0.0015358 | -0.045888
52.43 | 46.93 | 52.58 | 50.62 | 52.56 | 51.79 | 85 | 77.243 | 80.6092 | 81.6241 | 77.2 | 80.6 | 81.6 | -0.043043 | -0.0091746 | -0.024141
58.76 | 52.85 | 58.93 | 56.56 | 58.88 | 57.68 | 95 | 86.5778 | 89.8754 | 90.8361 | 86.6 | 89.9 | 90.8 | 0.022224 | 0.024624 | -0.036083
65.01 | 58.7 | 65.22 | 62.39 | 65.17 | 63.47 | 105 | 95.9718 | 99.1641 | 100.0591 | 96 | 99.2 | 100.1 | 0.028156 | 0.03591 | 0.040888
71.68 | 64.91 | 71.96 | 68.6 | 72.14 | 69.83 | 115 | 105.3164 | 108.4291 | 109.276 | 105.3 | 108.4 | 109.3 | -0.016442 | -0.029128 | 0.024023
78.27 | 71.03 | 78.58 | 74.7 | 78.77 | 75.9 | 125 | 114.7278 | 117.7197 | 118.4987 | 114.7 | 117.7 | 118.5 | -0.027761 | -0.019725 | 0.0013422
84.77 | 77.03 | 85.12 | 80.72 | 85.3 | 81.9 | 135 | 124.2697 | 127.0863 | 127.7279 | 124.3 | 127.1 | 127.7 | 0.030284 | 0.013723 | -0.027928
91.14 | 82.95 | 91.54 | 86.67 | 91.69 | 87.78 | 145 | 133.8086 | 136.5037 | 137.0681 | 133.8 | 136.5 | 137.1 | -0.0086133 | -0.0037106 | 0.031879
97.36 | 88.8 | 97.82 | 92.49 | 97.96 | 93.57 | 155 | 143.4602 | 145.9931 | 146.5049 | 143.5 | 146 | 146.5 | 0.03978 | 0.0069477 | -0.0049043
103.97 | 95.01 | 104.5 | 98.7 | 104.86 | 99.93 | 165 | 153.1836 | 155.5627 | 155.9752 | 153.2 | 155.6 | 156 | 0.016436 | 0.037317 | 0.02477
110.54 | 101.13 | 111.08 | 104.8 | 111.45 | 106.01 | 175 | 162.9608 | 165.2327 | 165.5125 | 163 | 165.2 | 165.5 | 0.039212 | -0.032674 | -0.012494
116.94 | 107.14 | 117.58 | 110.82 | 117.96 | 112 | 185 | 172.7866 | 174.9334 | 175.074 | 172.8 | 174.9 | 175.1 | 0.013394 | -0.033433 | 0.026028
123.23 | 113.05 | 123.98 | 116.77 | 124.34 | 117.89 | 195 | 182.6394 | 184.6057 | 184.6243 | 182.6 | 184.6 | 184.6 | -0.039352 | -0.0057191 | -0.024324
129.38 | 118.9 | 130.22 | 122.59 | 130.61 | 123.67 | 205 | 192.4841 | 194.2836 | 194.1583 | 192.5 | 194.3 | 194.2 | 0.015876 | 0.016413 | 0.041746
135.88 | 125.11 | 136.83 | 128.81 | 137.48 | 130.03 | 215 | 202.4109 | 204.0518 | 203.7711 | 202.4 | 204.1 | 203.8 | -0.010885 | 0.048175 | 0.028851
142.31 | 131.24 | 143.3 | 134.9 | 143.98 | 136.11 | 225 | 212.4107 | 213.9099 | 213.4697 | 212.4 | 213.9 | 213.5 | -0.010729 | -0.0099222 | 0.030315
148.58 | 137.24 | 149.67 | 140.92 | 150.34 | 142.1 | 235 | 222.6125 | 223.9066 | 223.3561 | 222.6 | 223.9 | 223.4 | -0.01248 | -0.0066373 | 0.043946
154.69 | 143.16 | 155.92 | 146.87 | 156.57 | 147.99 | 245 | 232.9094 | 234.043 | 233.3305 | 232.9 | 234 | 233.3 | -0.0094379 | -0.04302 | -0.030472
160.72 | 149 | 162.02 | 152.69 | 162.68 | 153.77 | 255 | 243.0375 | 244.1782 | 243.3484 | 243 | 244.2 | 243.3 | -0.037453 | 0.021839 | -0.048358
167.07 | 155.21 | 168.46 | 158.91 | 169.37 | 160.14 | 265 | 253.2588 | 254.2376 | 253.357 | 253.3 | 254.2 | 253.4 | 0.041246 | -0.037564 | 0.043032
173.34 | 161.34 | 174.77 | 165.01 | 175.73 | 166.21 | 275 | 263.5293 | 264.3569 | 263.3423 | 263.5 | 264.4 | 263.3 | -0.029307 | 0.043099 | -0.042337
179.48 | 167.34 | 180.98 | 171.03 | 181.99 | 172.2 | 285 | 273.6505 | 274.5418 | 273.4295 | 273.7 | 274.5 | 273.4 | 0.049496 | -0.041795 | -0.029511
185.48 | 173.26 | 187.11 | 176.98 | 188.16 | 178.09 |  |  |  |  | 284 | 284.8 | 283.6 | -0.080761 | -0.032459 | 0.10211
191.42 | 179.11 | 193.13 | 182.8 | 194.22 | 183.88
197.72 | 185.32 | 199.56 | 189.01 | 200.89 | 190.24
203.94 | 191.44 | 205.85 | 195.11 | 207.25 | 196.31
210.02 | 197.44 | 212.02 | 201.13 | 213.48 | 202.31
215.95 | 203.36 | 218.08 | 207.08 | 219.6 | 208.2
221.81 | 209.21 | 223.98 | 212.9 | 225.52 | 213.98
227.98 | 215.42 | 230.23 | 219.11 | 231.96 | 220.34
233.97 | 221.55 | 236.29 | 225.21 | 238.08 | 226.42
239.77 | 227.55 | 242.22 | 231.23 | 244.08 | 232.41
245.54 | 233.46 | 248.1 | 237.18 | 249.96 | 238.3
251.31 | 239.31 | 253.83 | 243 | 255.73 | 244.08
257.45 | 245.52 | 260.03 | 249.22 | 262.08 | 250.45
263.44 | 251.65 | 266.07 | 255.32 | 268.18 | 256.52
269.25 | 257.65 | 272.01 | 261.34 | 274.17 | 262.51
275.04 | 263.57 | 277.89 | 267.28 | 280.03 | 268.4
280.82 | 269.42 | 283.59 | 273.11 | 285.75 | 274.19
286.94 | 275.63 | 289.71 | 279.32 | 292.01 | 280.55
292.84 | 281.75 | 295.61 | 285.42 | 298.01 | 286.62
298.49 | 287.75

## comp page
Komyhr adjusted |  |  |  |  | IUP multiply |  |  |  |  | B&P Bmultiply |  |  |  |  | D&M multiply
276.1845 | 284.1418 | 276.1092 | 269.7515 | 273.9953 | 278.3557 | 294.6917 | 278.9546 | 265.7651 | 274.9577 | 276.6548 | 289.2028 | 276.9678 | 266.7638 | 273.831 | 280.5327 | 297.1573 | 279.2085 | 267.7169 | 274.682
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
273.461 | 279.6003 | 274.6453 | 268.7418 | 273.2627 | 275.6108 | 289.9816 | 277.4756 | 264.7702 | 274.2225 | 273.9267 | 284.5804 | 275.4994 | 265.7652 | 273.0989 | 277.7664 | 292.4078 | 277.7281 | 266.7147 | 273.9476
275.2466 | 279.8491 | 275.4677 | 271.7315 | 274.2498 | 277.4104 | 290.2396 | 278.3064 | 267.7158 | 275.213 | 275.7153 | 284.8337 | 276.3243 | 268.7219 | 274.0853 | 279.5801 | 292.6679 | 278.5597 | 269.682 | 274.9371
274.4503 | 280.7052 | 275.9295 | 269.551 | 274.6203 | 276.6079 | 291.1275 | 278.773 | 265.5675 | 275.5848 | 274.9177 | 285.705 | 276.7875 | 266.5654 | 274.4556 | 278.7713 | 293.5632 | 279.0267 | 267.5178 | 275.3085
275.4669 | 280.7214 | 276.5801 | 271.3523 | 275.4459 | 277.6324 | 291.1444 | 279.4303 | 267.3422 | 276.4134 | 275.9359 | 285.7215 | 277.4401 | 268.3468 | 275.2807 | 279.8038 | 293.5802 | 279.6846 | 269.3056 | 276.1363
275.8564 | 283.0002 | 276.4393 | 270.178 | 274.6807 | 278.0249 | 293.5078 | 279.288 | 266.1852 | 275.6455 | 276.3261 | 288.0409 | 277.2989 | 267.1855 | 274.516 | 280.1994 | 295.9634 | 279.5422 | 268.1401 | 275.3692
275.7814 | 279.0372 | 275.9743 | 273.2512 | 275.1356 | 277.9494 | 289.3976 | 278.8183 | 269.213 | 276.102 | 276.251 | 284.0073 | 276.8325 | 270.2247 | 274.9706 | 280.1233 | 291.8189 | 279.072 | 271.1902 | 275.8252
275.3623 | 281.8403 | 276.5749 | 270.1901 | 275.1661 | 277.527 | 292.3049 | 279.4251 | 266.1971 | 276.1325 | 275.8312 | 286.8604 | 277.435 | 267.1975 | 275.0011 | 279.6976 | 294.7504 | 279.6794 | 268.1521 | 275.8557
276.2457 | 282.6985 | 275.9361 | 271.0806 | 274.1405 | 278.4174 | 293.1949 | 278.7796 | 267.0744 | 275.1034 | 276.7161 | 287.7339 | 276.7941 | 268.0781 | 273.9761 | 280.5949 | 295.6479 | 279.0333 | 269.0359 | 274.8276
274.9904 | 281.6105 | 275.7869 | 269.6775 | 274.2401 | 277.1522 | 292.0665 | 278.6289 | 265.6921 | 275.2033 | 275.4587 | 286.6265 | 276.6445 | 266.6906 | 274.0757 | 279.3199 | 294.51 | 278.8825 | 267.6434 | 274.9274
275.9529 | 283.0816 | 275.8551 | 270.2159 | 273.9449 | 278.1222 | 293.5922 | 278.6978 | 266.2226 | 274.9071 | 276.4228 | 288.1238 | 276.7129 | 267.223 | 273.7807 | 280.2975 | 296.0486 | 278.9515 | 268.1778 | 274.6315
276.163 | 280.0374 | 275.7312 | 273.0697 | 274.5864 | 278.334 | 290.4349 | 278.5727 | 269.0342 | 275.5508 | 276.6333 | 285.0253 | 276.5887 | 270.0452 | 274.4217 | 280.511 | 292.8649 | 278.8262 | 271.01 | 275.2746
275.2527 | 280.1037 | 275.5168 | 271.3566 | 274.3009 | 277.4165 | 290.5037 | 278.3561 | 267.3464 | 275.2643 | 275.7214 | 285.0928 | 276.3736 | 268.351 | 274.1364 | 279.5863 | 292.9342 | 278.6094 | 269.3098 | 274.9883
275.9605 | 281.7957 | 275.8489 | 271.2564 | 274.2796 | 278.1299 | 292.2586 | 278.6915 | 267.2477 | 275.2429 | 276.4304 | 286.815 | 276.7066 | 268.252 | 274.1151 | 280.3052 | 294.7037 | 278.9451 | 269.2104 | 274.967
275.3183 | 282.2338 | 275.8374 | 269.7287 | 274.1523 | 277.4826 | 292.7129 | 278.6799 | 265.7426 | 275.1152 | 275.7871 | 287.2609 | 276.6951 | 266.7412 | 273.9879 | 279.6529 | 295.1619 | 278.9335 | 267.6942 | 274.8394
275.6022 | 281.4228 | 275.8286 | 270.9003 | 274.3545 | 277.7688 | 291.8718 | 278.671 | 266.8968 | 275.3181 | 276.0715 | 286.4354 | 276.6863 | 267.8998 | 274.19 | 279.9413 | 294.3137 | 278.9246 | 268.8569 | 275.0421
275.5286 | 282.8276 | 275.9218 | 269.6182 | 274.1064 | 277.6946 | 293.3288 | 278.7652 | 265.6337 | 275.0691 | 275.9978 | 287.8652 | 276.7798 | 266.6319 | 273.942 | 279.8665 | 295.7829 | 279.0189 | 267.5846 | 274.7933
276.1611 | 284.4077 | 276.5984 | 269.4752 | 274.5481 | 278.3321 | 294.9675 | 279.4488 | 265.4928 | 275.5124 | 276.6314 | 289.4735 | 277.4585 | 266.4905 | 274.3835 | 280.509 | 297.4354 | 279.7031 | 267.4426 | 275.2362
276.088 | 282.5782 | 275.9474 | 270.8302 | 274.2059 | 278.2585 | 293.0701 | 278.7911 | 266.8278 | 275.169 | 276.5582 | 287.6114 | 276.8055 | 267.8305 | 274.0415 | 280.4348 | 295.522 | 279.0448 | 268.7875 | 274.8932
275.8516 | 282.193 | 276.1983 | 270.7123 | 274.6237 | 278.0202 | 292.6706 | 279.0445 | 266.7117 | 275.5883 | 276.3214 | 287.2193 | 277.0572 | 267.7139 | 274.4591 | 280.1946 | 295.1192 | 279.2985 | 268.6704 | 275.312
277.1204 | 282.1744 | 276.1928 | 273.0277 | 274.6225 | 279.2989 | 292.6513 | 279.039 | 268.9928 | 275.587 | 277.5923 | 287.2004 | 277.0517 | 270.0037 | 274.4578 | 281.4834 | 295.0997 | 279.293 | 270.9684 | 275.3107
277.2628 | 283.994 | 276.2272 | 271.8014 | 274.1913 | 279.4424 | 294.5385 | 279.0738 | 267.7846 | 275.1543 | 277.7349 | 289.0524 | 277.0862 | 268.7909 | 274.0269 | 281.628 | 297.0027 | 279.3278 | 269.7512 | 274.8785
277.3811 | 283.7245 | 276.3676 | 272.2338 | 274.4394 | 279.5617 | 294.2589 | 279.2156 | 268.2106 | 275.4033 | 277.8535 | 288.7781 | 277.227 | 269.2185 | 274.2748 | 281.7482 | 296.7209 | 279.4697 | 270.1804 | 275.1272
276.942 | 281.2633 | 275.8395 | 273.4405 | 274.4166 | 279.1191 | 291.7064 | 278.682 | 269.3995 | 275.3804 | 277.4136 | 286.2731 | 276.6972 | 270.4119 | 274.2521 | 281.3021 | 294.147 | 278.9357 | 271.378 | 275.1044
276.5483 | 286.7106 | 275.7307 | 268.2861 | 272.8572 | 278.7224 | 297.3559 | 278.5721 | 264.3213 | 273.8155 | 277.0193 | 291.8174 | 276.5881 | 265.3146 | 272.6936 | 280.9023 | 299.8437 | 278.8256 | 266.2625 | 273.541
276.8603 | 285.7889 | 276.0649 | 269.6019 | 273.5199 | 279.0368 | 296.4 | 278.9098 | 265.6177 | 274.4806 | 277.3318 | 290.8792 | 276.9234 | 266.6158 | 273.3559 | 281.2192 | 298.8798 | 279.1636 | 267.5684 | 274.2054
276.0678 | 285.7156 | 276.022 | 268.2222 | 273.4853 | 278.2381 | 296.324 | 278.8664 | 264.2583 | 274.4458 | 276.538 | 290.8047 | 276.8803 | 265.2514 | 273.3213 | 280.4143 | 298.8032 | 279.1202 | 266.1991 | 274.1707
276.7261 | 281.9249 | 275.6254 | 272.5045 | 273.9755 | 278.9016 | 292.3925 | 278.4658 | 268.4773 | 274.9378 | 277.1974 | 286.9464 | 276.4825 | 269.4863 | 273.8112 | 281.0829 | 294.8388 | 278.7192 | 270.4491 | 274.6622
276.9805 | 285.3585 | 275.8195 | 270.1672 | 273.3238 | 279.1579 | 295.9537 | 278.6618 | 266.1746 | 274.2838 | 277.4521 | 290.4413 | 276.6772 | 267.1749 | 273.1599 | 281.3413 | 298.4298 | 278.9154 | 268.1295 | 274.0088
276.1546 | 286.7713 | 276.3273 | 267.5165 | 273.5956 | 278.3256 | 297.4188 | 279.1748 | 263.563 | 274.5565 | 276.6249 | 291.8791 | 277.1865 | 264.5535 | 273.4315 | 280.5024 | 299.9072 | 279.4289 | 265.4987 | 274.2813
276.0716 | 283.6713 | 275.0732 | 269.8865 | 272.8253 | 278.2419 | 294.2038 | 277.9078 | 265.898 | 273.7835 | 276.5417 | 288.724 | 275.9286 | 266.8972 | 272.6617 | 280.4181 | 296.6652 | 278.1608 | 267.8508 | 273.509
275.7925 | 283.004 | 274.4458 | 269.9233 | 272.2084 | 277.9606 | 293.5117 | 277.274 | 265.9343 | 273.1645 | 276.2622 | 288.0448 | 275.2992 | 266.9336 | 272.0452 | 280.1346 | 295.9673 | 277.5263 | 267.8873 | 272.8907
276.0415 | 287.7524 | 275.4372 | 266.5057 | 272.2187 | 278.2116 | 298.4364 | 278.2756 | 262.5672 | 273.1748 | 276.5116 | 292.8778 | 276.2937 | 263.5539 | 272.0555 | 280.3875 | 300.9333 | 278.5289 | 264.4956 | 272.901
276.036 | 284.4877 | 275.5156 | 269.1555 | 273.1704 | 278.2061 | 295.0505 | 278.3548 | 265.1779 | 274.1298 | 276.5061 | 289.5549 | 276.3723 | 266.1744 | 273.0066 | 280.382 | 297.519 | 278.6081 | 267.1254 | 273.855
277.449 | 284.7734 | 276.1553 | 271.4866 | 273.9027 | 279.6301 | 295.3468 | 279.0011 | 267.4745 | 274.8647 | 277.9215 | 289.8457 | 277.0141 | 268.4797 | 273.7384 | 281.8172 | 297.8178 | 279.2551 | 269.4389 | 274.5892
276.971 | 286.7655 | 277.0015 | 268.9955 | 274.4497 | 279.1483 | 297.4129 | 279.8561 | 265.0202 | 275.4137 | 277.4426 | 291.8733 | 277.8629 | 266.0161 | 274.2852 | 281.3316 | 299.9012 | 280.1108 | 266.9666 | 275.1376
276.2493 | 284.4484 | 276.9213 | 269.5736 | 274.9537 | 278.421 | 295.0098 | 279.775 | 265.5898 | 275.9195 | 276.7198 | 289.5149 | 277.7824 | 266.5878 | 274.7889 | 280.5986 | 297.4779 | 280.0296 | 267.5403 | 275.6429
278.7619 | 285.901 | 276.6637 | 272.9496 | 274.2497 | 280.9534 | 296.5163 | 279.5148 | 268.9159 | 275.2129 | 279.2366 | 290.9934 | 277.524 | 269.9264 | 274.0852 | 283.1508 | 298.9971 | 279.7692 | 270.8908 | 274.937
276.7258 | 287.1119 | 277.0086 | 268.2675 | 274.3684 | 278.9013 | 297.7722 | 279.8632 | 264.303 | 275.3321 | 277.1971 | 292.2259 | 277.87 | 265.2962 | 274.2039 | 281.0826 | 300.2635 | 280.1179 | 266.2441 | 275.0561
280.663 | 292.2863 | 277.1933 | 271.1963 | 273.2501 | 282.8694 | 303.1387 | 280.0498 | 267.1885 | 274.2098 | 281.1409 | 297.4925 | 278.0553 | 268.1926 | 273.0862 | 285.0818 | 305.6749 | 280.3047 | 269.1508 | 273.9349
277.2894 | 293.0643 | 277.2197 | 264.4397 | 273.0802 | 279.4693 | 303.9456 | 280.0764 | 260.5317 | 274.0393 | 277.7616 | 298.2843 | 278.0817 | 261.5108 | 272.9164 | 281.6551 | 306.4885 | 280.3313 | 262.4451 | 273.7646
270.8972 | 293.6056 | 277.0937 | 252.3978 | 272.78 | 273.0268 | 304.5069 | 279.9492 | 248.6678 | 273.7381 | 271.3585 | 298.8352 | 277.9554 | 249.6023 | 272.6165 | 275.1623 | 307.0546 | 280.204 | 250.4941 | 273.4637
278.0162 | 293.9125 | 278.0248 | 265.0671 | 273.8742 | 280.2018 | 304.8252 | 280.8899 | 261.1499 | 274.8362 | 278.4896 | 299.1476 | 278.8894 | 262.1312 | 273.71 | 282.3933 | 307.3755 | 281.1455 | 263.0678 | 274.5607
277.649 | 298.3584 | 277.6063 | 260.7779 | 272.1853 | 279.8317 | 309.4362 | 280.467 | 256.9241 | 273.1413 | 278.1218 | 303.6726 | 278.4695 | 257.8896 | 272.0221 | 282.0203 | 312.0251 | 280.7223 | 258.811 | 272.8675
278.0378 | 296.0384 | 277.4465 | 263.3736 | 272.5897 | 280.2235 | 307.0301 | 280.3056 | 259.4814 | 273.5472 | 278.5112 | 301.3114 | 278.3092 | 260.4565 | 272.4263 | 282.4152 | 309.5988 | 280.5607 | 261.3871 | 273.2729
277.3137 | 297.9 | 277.9681 | 260.5425 | 272.7614 | 279.4937 | 308.9608 | 280.8325 | 256.6921 | 273.7195 | 277.7859 | 303.2061 | 278.8324 | 257.6567 | 272.5979 | 281.6797 | 311.5457 | 281.0881 | 258.5773 | 273.445
277.3675 | 297.3313 | 277.944 | 261.1034 | 272.8797 | 279.548 | 308.371 | 280.8082 | 257.2447 | 273.8381 | 277.8398 | 302.6273 | 278.8083 | 258.2114 | 272.7161 | 281.7344 | 310.9509 | 281.0638 | 259.134 | 273.5636